Abstract031_Godoy.doc

ConferenceTrack:  Engineering Infrastructure

Language:         English

Keywords:         natural hazards, tanks, buckling, structures

ContactTitle::    Prof.

ContactFirstName: Luis Augusto

ContactLastName:  Godoy

University:       University of Puerto Rico at Mayaguez

Web:

Position:         Professor, Associate Director

Country:          United States

Email:            lgodoy@uprm.edu

Fax:              1-787-833-8260

Submitted:        Saturday, January 08, 2005,04:12:30 PM

Title:

Structural Consequences of Natural Hazards on Metal Storage Tanks

Abstract:

Aboveground metal storage tanks are used in the Caribbean islands and the United States to store oil as part of the infrastructure supporting the distribution of oil and fuel. To assure the continuing supply of such products, this infrastructure should be in service following major natural hazards, including earthquakes, hurricanes, and floods. This paper reports results from a five-year research project on the structural consequences of natural hazards on thin-walled metal tanks with large diameter and low aspect ratio (short tanks). The tanks considered have several roof configurations, including conical, shallow spherical cap, flat, and floating roofs. Most tanks have rafters and columns to support the roof.

The emphasis of the study is on the computational modeling of the structural response, including buckling of the shell due to external loads. In the case of wind loads, two studies were carried out to estimate pressures on the shell: First, wind tunnel experiments on small scale models; and second, computational fluid dynamics simulations. For earthquake loads, the liquid stored plays an important role in the evaluation of loads, and both hydrostatic and sloshing actions have been considered in the analysis.

MailingAddress:

Civil Infrastructure Research Center,

Department of Civil Engineering and Surveying,

University of Puerto Rico at Mayaguez,

Mayaguez, Puerto Rico 00681-9041.

Phone:  1-787-265-3815

Authors:

Luis A. Godoy, lgodoy@uprm.edu, University of Puerto Rico at Mayaguez(P)

Genock Portela, gportela@uprm.edu, University of Puerto Rico at Mayaguez

Eduardo M. Sosa, emsosa@hotmail.com, University of Puerto Rico at Mayaguez

Juan C. Virilla, jvirella@uprm.edu, University of Puerto Rico at Mayaguez

Rossana Jaca, rjaca@uncoma.edu.ar, Universidad Nacional del Comahue,

Argentina